|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Please quote for the above **specified items only** to 'The Secretary | | | | | |
|  | Ramakrishna Mission Vivekananda Smriti Mandir,Khetri', Rajasthan | | | | | |
|  | E.mail: khetri@rkmm.org; rkmjitendrananda @gmail.com | | | | |  |
|  | Contact Persion- Swami Jitendrananda 9462896477;9462296477 9462296477 | | | | |  |
| **S.No.** | **Item Description** | | **Unit** | **Qty.** | **Rate** | **Amount** |
|
| **Close Circuit Television ( CCTV )** | | | | | | |
| 1 | | HD CCTV Camera 25/30 fps@720 P, 1.0 Mpixel, 3.6 mm lens CMOS, IR for Night Vision, ICR, IR 20 Mtr. Make- Hikvision | Nos. | 47 | 950/- |  |
| 2 | | HD CCTV Camera 25/30 fps@720 P, 1.0 Mpixel, 6 mm lens CMOS, IR for Night Vision, ICR, IR 30 Mtr. Make- Hikvision | Nos. | 5 | 1700/- |  |
| 3 | | Power Supply 12V 20 AMP SMPS 16 Camera | Nos. | 4 | 1450/- |  |
| 4 | | HD DVR 4 CH. Video ; 1 CH Audio , VGA Output , LAN/WAN Accessible, Make- Hikvision | No | 1 | 2450/- |  |
| 5 | | HD DVR 8 CH. Video ; 1 CH Audio , VGA Output , LAN/WAN Accessable, Make- Hikvision | No | 1 | 3850/- |  |
| 6 | | HD DVR 16 CH. Video ; 1 CH Audio , VGA Output , LAN/WAN Accessable,Make- Hikvision | No | 1 | 5500/- |  |
| 7 | | HD DVR 32 CH. Video ; 1 CH Audio , VGA Output , LAN/WAN Accessable,Make- Hikvision | No | 1 | 31000/- |  |
| 8 | | HDD 2TB |  | 1 | 5600/- |  |
| 9 | | Hard Disk Drive 4000 GB Survilliance Grade | Nos. | 4 | 10300/- |  |
| 10 | | Connectors for Camera & DVR | Nos. | 52 | 40/- |  |
| 11 | | Wall Rack 9U | Nos. | 2 | 4500/- |  |
| 12 | | TFT 19 " | Nos. | 2 | 6600/- |  |
| 13 | | Installation , Testing Commissioning & Configuration of Cameras & all associated equipments. | Nos. | 52 | 400/- |  |
|  | | **Total** |  |  |  |  |
|  | | GST@18% |  |  |  |  |
|  | | **Total** |  |  |  |  |
|  | | **Total CCTV** |  |  |  |  |
|  | |  |  |  |  |  |
|  | |  |  |  |  |  |
|  | | Swami Jitendrananda |  |  |  |  |
|  | |  |  |  |  |  |
|  | |  |  |  |  |  |
|  | |  |  |  |  |  |